## About
London Reporting Academy
Guide | UAE Climate Law for Real Estate and Hospitality: Landlord-Tenant Data, Cooling and Energy
Source | https://reporting.academy/en/knowledge-hub/disclosure-guides/uae/uae-sector-inventories/uae-climate-law-for-real-estate-and-hospitality-landlord-tenant-data-c/
Standard edition | —
Reviewed by | Dr Ross Kurinko
Last reviewed | 2026-08-10
How to use | Work through each sheet with the owners named in the guide. The status and owner columns are deliberately empty — they are yours to fill in and keep as evidence.
Status | Educational guidance from London Reporting Academy. It is not a substitute for the standard itself, and it is not issued or endorsed by the standard setter.

## Readiness checklist
Readiness checklist
From: UAE Climate Law for Real Estate and Hospitality: Landlord-Tenant Data, Cooling and Energy
# | Check | Status | Owner | Evidence / note
1 | Every UAE asset has a legal owner, operator, facility ID and authority-status field.
2 | Common areas, tenant spaces, central plant and hotel operations are separately identifiable.
3 | Electricity, cooling, fuel, refrigerants and water have distinct source and evidence records.
4 | Meter coverage and allocation methods are documented and approved.
5 | Renewable instruments have contract, certificate, retirement and beneficiary evidence.
6 | Refrigerant equipment and movements can be reconciled.
7 | Water, heat, flood and infrastructure risks link to asset actions and residual risks.
8 | Output-specific boundary adjustments and claims are version-controlled.
9 | The competent authority has confirmed or been asked to confirm the accepted criteria.

## Table 1
Boundary | Core question | Evidence — Control outcome
Legal entity | Which company or branch is the Source, registrant or reporting party? | Trade licences, group chart, contracts, permits and authority correspondence. — Entity ID and legal conclusion linked to each asset.
Operational asset | Who directs operating policies for plant, fuel, cooling, HVAC and refrigerant management? | Operations agreements, facilities contracts, approval rights and maintenance records. — Control conclusion by equipment and activity.
Facility or building | Is the report required by legal entity, facility, asset class, emirate or portfolio? | Asset register, coordinates, permits, local notices and meter map. — Facility IDs and aggregation rules.
Meter and commercial | Who buys, meters, recharges or allocates electricity, cooling, gas and water? | Invoices, sub-meter exports, service-charge statements and lease clauses. — Data route and allocation basis; not an automatic emissions conclusion.
Reporting framework | Does the output use UAE law, registry, IFRS S2, ESRS, GRI, CDP or another request? | Source register and output-specific mapping. — Separate release view with residual differences recorded.

## Table 2
Data item | Preferred evidence | Common weakness — Control
Cooling consumption | Provider invoice plus meter or chilled-water statement. | Only the total service charge is retained. — Reconcile provider units to asset and reporting period.
Emission factor | Provider-specific or authority-approved factor with version and unit. | Factor copied from an old proposal or website. — Factor register, approval and change log.
Allocation | Sub-metered tenant/common-area split where available. | Floor area used without testing occupancy or operating hours. — Hierarchy: actual meter, documented engineering basis, then transparent proxy.
Contract attributes | Contract, tariff, provider statement and any environmental attribute terms. | “Low-carbon cooling” marketing phrase treated as inventory evidence. — Separate operational consumption from contractual or avoided-emission claims.

## Table 3
Situation | Possible inventory treatment | Evidence needed — Do not assume
Landlord controls central plant and common areas | Direct fuel or refrigerant sources may be Scope 1; purchased energy may be Scope 2 under a control approach. | Plant responsibility, operating rights, fuel and refrigerant logs, utility accounts. — That tenant occupancy transfers control of central plant.
Tenant controls its own premises and contracts energy | Tenant consumption may be tenant Scope 2; landlord may retain a separate leased-asset or portfolio record depending on method. | Lease, meter, supplier contract and control rights. — That landlord must include or exclude the data in every output.
Master-metered building with recharge | Allocation is required for management or output-specific reporting. | Main meter, sub-meters, occupancy, floor area, hours and allocation method. — That service-charge allocation equals emissions allocation automatically.
Hotel management agreement | Owner and operator conclusions depend on contractual rights and actual operating control. | Management agreement, capex/opex approvals, plant operation and staff responsibilities. — That brand name or property ownership decides the boundary alone.

## Table 4
Control | Evidence | Review test
Equipment completeness | Chiller/HVAC register, maintenance contracts and asset walk-through. | Do invoices and the equipment list reveal units missing from the register?
Movement reconciliation | Cylinder purchases, technician service sheets, top-up and recovery logs. | Can additions and recoveries be reconciled by refrigerant and period?
Factor and GWP version | Approved calculation sheet and factor register. | Is the correct refrigerant and GWP set used consistently?
Contractor reliance | Named evidence requirements in service contract. | Does the organisation receive source records rather than only a maintenance certificate?

## Table 5
Hazard or dependency | Asset evidence | Action evidence — Residual-risk evidence
Extreme heat | Cooling load, equipment limits, guest/worker exposure and outage history. | HVAC upgrades, shading, work-rest controls, emergency procedures. — Peak-load gap, remaining vulnerable spaces and business-continuity assumptions.
Water stress | Consumption, source, storage, landscaping and laundry demand. | Low-flow equipment, reuse, leak detection, drought procedures. — Supplier dependency, alternative supply and unresolved high-use assets.
Flooding / intense rainfall | Elevation, drainage, basement plant and access routes. | Drainage, barriers, relocation of critical equipment and response drills. — Design standard, unprotected assets and recovery time.
Cooling or power interruption | District-cooling and grid dependency, backup generation and critical loads. | Redundancy, maintenance, fuel contracts and guest-safety plans. — Duration tolerated, fuel limits and supplier concentration.

## Weak versus stronger practice
Weak versus stronger practice
Weak practice | Why it is weak | Stronger practice
Use the utility payer as the boundary. | Commercial payment does not establish legal Source status or operational control. | Document legal, operational, facility and meter boundaries separately.
Allocate tenants by floor area every year. | It ignores meters, occupancy and changes in use. | Use a controlled allocation hierarchy and disclose estimates.
Treat district cooling as electricity. | Units and emission factors may differ and the provider evidence is lost. | Maintain a separate purchased-cooling source and method record.
Report only refrigerant purchases. | Purchases do not necessarily equal leakage and can omit recovery or stock. | Maintain an equipment and movement reconciliation.
State that the building is renewable-powered. | The claim may exceed the contract or certificate evidence. | Separate physical inventory, contractual attributes and approved claim wording.